Server Spec Guide eMAM Workgroup 5.1

Copyright © 2019 Empress Media Asset Management, LLC

Contents

1.	Introduction	3

2.	eMAM Workgroup	4

2.1 eMAM Database/Web Server	4

2.2 eMAM Application Server	4

2.3 Archive Appliance / Archive Server	4

2.4 Transcode Appliance / Transcode Server	5

2.5 Online disk storage	5

2.6 Cloud Storage (Optional)	5

3.	On Premise – eMAM Workgroup	6

3.1 eMAM Workgroup – On Premise Network Diagram	7

4.	Virtual Machine – eMAM Workgroup	8

5.	Cloud – eMAM Workgroup	10

5.1 eMAM Workgroup – Cloud server info	12

5.2 eMAM Workgroup – Important Cloud Services	13

5.3 eMAM Workgroup – Other Cloud Services	14

5.4 eMAM Workgroup – Cloud Network Diagram	15

6.	Firewall Ports	16

7.	Redundancy	17

7.1 Redundant eMAM Server for Failover and Disaster Recovery (DR)	17

7.2 Some basic requirement & guidelines for failover system -	18

7.3 eMAM Redundant Server License	19

7.4 Options for 3rd Party Failover	19

# Introduction

eMAM is an all-in-one, web-based Digital Asset Management (DAM) software system designed to organize, share, and collaborate digitized information such as audios, videos, images, and documents. Empress has taken a ground-breaking approach to create a flexible, feature-rich, and modular digital asset management platform to meet asset management requirements of individuals, as well as major enterprises. As per our continued endeavor to increase our feature offerings, we have released our eMAM 5.1, from our current version of eMAM 5.0.

Empress can offer basic hardware specs for the different packages and platforms, but it is ultimately up to the Reseller/ SI or cloud vendor to finetune the hardware specs with their offerings and the customer’s requirements. This document is meant as a starting point guide.

| eMAM Workgroup |  |
| --- | --- |

## 2.1 eMAM Database/Web Server

In eMAM Workgroup system configuration, eMAM database and web server components can be installed in one server. We recommend keeping the database and log files in a RAID10 array with daily backup configuration.

eMAM Gateway and eMAM Analytics Gateway will be pointed to the eMAM Database running the same server. eMAM Director and web applications will be deployed in the same server and these components will be pointed to eMAM Gateways running in the same server.

In case of any server failure, a new server can be built with required eMAM components. eMAM database can be restored from the backup or from the RAID array.

Web server components can be installed in a different server (third server) at later stage in case of heavy load.

## 2.2 eMAM Application Server

This consists of one server installed with server based transcoding software, eMAM Delivery Service, eMAM Ingest Manager, eMAM Archive and eMAM Task Manager. All these application components are deployed as backed windows services and these components will be pointed to eMAM Gateways running in the eMAM Database/Web server.

eMAM has the option to configure a less expensive NAS storage or LTO tape library as archive storage. Content can be kept in both online disk storage and archive storage. Disk retention rules can be set in eMAM to move the content from disk storage to archive. Content from the archive can be restored to online disk storage or it can be delivered outside eMAM in any desired file format. eMAM supports partial restore for supported broadcast file formats.  Empress recommends LTO library to preserve and protect the content in archive for long term. eMAM requires third party software to manage Robotic LTO libraries.

Main functionalities of application server

- Monitor the watch folders for incoming files

- Transcode the incoming source files and prepare web-based proxy copies and other platform files.

- Index and move the source files and proxy files to connected storages.

- Deliver the content from managed storages to external locations.

- Archive the files to NAS storage or the LTO library managed by our partner 3rd party Archive vendors.

http://empressmam.com/partners.aspx

- Restore (including partial) the files to connected disk storage.

- Production Management / Adobe Products Plugins

In case of any server failure, we can manually bring up these services from another server. Failed jobs can be easily resubmitted from the eMAM Director Dashboard.

## 2.3 Archive Appliance / Archive Server

This server is required to manage a robotic LTO library. eMAM Archive module will interface with the archive server/appliance to perform archive, restore and partial restore functions from LTO tapes.

http://empressmam.com/partners.aspx

## 2.4 Transcode Appliance / Transcode Server

eMAM requires a transcoder to create .h264 MP4 proxy files for eMAM. eMAM Ingest and delivery modules will interface with the transcode server/appliance to perform transcodes. Transcoding is done by a 3rd party partner. In eMAM Workgroup, in most cases you may use the same server that is running eMAM.

http://empressmam.com/partners.aspx

## 2.5 Online disk storage

eMAM stores the original and proxy files in an online disk storage for immediate access. Storage size is determined based on the daily ingest volume and the amount of content needs to be kept in the online disk storage. eMAM has built in options to move the content from online storage to archive storage based on storage threshold, archive threshold (days) and other archive rules. eMAM uses NAS, DAS or SAN storage as online disk storage depends on the customer requirements. Additional third-party software may require connecting to the multi-write SAN volumes. ** Please note – eMAM uses windows service users that must have read/write/delete access to the Storage. This in most cases requires the same user is also a valid user on the storage.

## 2.6 Cloud Storage (Optional)

eMAM can store the content in Object Storage buckets. The eMAM Cloud connector can upload the original content and proxy files into separate cloud storage buckets. Content that exist in AWS S3 buckets can be presented through Amazon CloudFront (CDN) URL within eMAM. For example, if somebody tries to preview a video from Los Angeles, the video will be loaded from a datacenter in Los Angeles. If somebody tries to preview the same video from London, the video will be loaded from a datacenter near to London. Cloud storage can be considered as an archive storage too.

Purchase the cloud services from a cloud vendor and provide the account configuration details to eMAM implementation team. (sample cloud vendors below)

- http://aws.amazon.com/s3/

- http://aws.amazon.com/cloudfront/

- https://azure.microsoft.com/en-us/services/storage/

- https://cloud.google.com/storage/

- https://wasabi.com

| On Premise – eMAM Workgroup |  |
| --- | --- |

The eMAM Workgroup software package consists of eMAM Database, eMAM Gateway, eMAM Analytics Gateway, eMAM Director, eMAM Ingest Manager, eMAM Task Manager, eMAM Archive and eMAM Delivery Service. In eMAM Workgroup configuration, eMAM software components can be deployed in 2+ servers.

Basic Server hardware requirements for eMAM Workgroup are as follows:

| Type | Requirement |
| --- | --- |
| Operating Systems & Database | Windows: Windows Server Standard 2016 -> Windows Server Standard 2019 Microsoft SQL Server 2016, 2017 & 2019 Standard, (MSSQL Express ADV for small systems) CAL license supplied by System Integrator/Customer – Check with Microsoft for accurate Cal counts. |
| Minimum Hardware Spec eMAM Web/Database Server | 2 x Intel Six core processors (12 Cores), 2.66Ghz or higher 32GB RAM 2 x 146GB 15K RPM HDD on RAID1 4 x 146GB 15K RPM HDDs on RAID10 1Gpbs/10Gbps NIC |
| eMAM Web/Database Components | eMAM Database (Provided by Empress) eMAM Gateway (Provided by Empress) eMAM Analytics Gateway (Provided by Empress) eMAM Director (Provided by Empress) |
| SSL Support | Yes –Microsoft IIS Certificate required (Supplied by Customer or Reseller/SI) |
| Active Directory / SSO | Integration Available |
| Minimum Hardware Spec eMAM Application Server | 2 Intel Six core processors (12 Cores), 2.66Ghz or higher 16GB RAM 2 X 146GB 15K RPM HDD on RAID1 4 X 300GB 10K RPM HDD on RAID10 (This is a high-speed temporary buffer storage for eMAM for transcoding) 1Gpbs/10Gbps NIC Optional Fiber Channel Card for storage connection |
| eMAM Application Components | eMAM Ingest Manager (Provided by Empress) eMAM Task Manager (Provided by Empress) eMAM Delivery Service (Provided by Empress) eMAM Archive (Provided by Empress) |
| Microsoft Office | Office Professional Plus 2016, 2019 (Supplied by Customer or Reseller/SI) |
| SSL Support | Yes – eMAM Web Uploader Apache Certificate required (Supplied by Customer or Reseller/SI) |

eMAM allows user to login to the application using any standard web browser. eMAM supports two types of logins: using Active Directory login or using normal login.

## 3.1 eMAM Workgroup – On Premise Network Diagram

* Empress Media Asset Management is a software company concentrating on building industry leading MAM software. Through our partner eco system, we provide complete turkey solution including hardware and third-party software.

| Virtual Machine – eMAM Workgroup |  |
| --- | --- |

eMAM Workgroup software package consists of eMAM Database, eMAM Gateway, eMAM Analytics Gateway, eMAM Director, eMAM Ingest Manager, eMAM Task Manager, eMAM Archive and eMAM Delivery Service. In eMAM Workgroup configuration, eMAM software components can be deployed in 2+ servers.

Basic Server hardware requirements for eMAM Workgroup are as follows:

| Type | Requirement |
| --- | --- |
| Operating Systems & Database | Windows: Windows Server Standard 2016 -> Windows Server Standard 2019 Microsoft SQL Server 2016, 2017 & 2019 Standard Edition |
| eMAM Demo / POC Server | Proof of Concept Virtual Server: Virtual CPU Processors: 4 Memory: 6GB Ram Windows 2016 or 2019 Standard Edition (Evaluation License is OK) Please make sure the Windows operating System is installed in US ENGLISH Please make sure the Date/Time is set to US ENGLISH Please make sure all Windows Patches/Updates are applied. MSSQL – 2017 or 2019 Express Edition (Express Edition for POC purposes) Empress can install the MSSQL software as there are some pre-requisites that need to be set during the install. OS Drive: 100GB Separate Drives for eMAM folders - Original, Proxy, ingest (The amount of space depends on how much content you want to test with. I would suggest minimum of 500GB) |
| eMAM VM Server | Database / Web Gateway VM Server: CPU – Quad 2.80 GHz Intel Xeon ®E5-2680 v2 Virtual CPU Processors: 4 Memory: 14GB Ram Windows 2016 or 2019 Standard Edition Please make sure the Windows operating System is installed in US ENGLISH Please make sure the Date/Time is set to US ENGLISH Please make sure all Windows Patches/Updates are applied. MSSQL – 2017 or 2019 Empress can install the MSSQL software as there are some pre-requisites that need to be set during the install. OS Drive: 200GB Separate Drive (SSD preferred) for Database: 50GB Separate Drive (SSD preferred) for TMP files: 50GB Separate Drive (SSD preferred) for Log files: 50GB |
|  | Application VM Server: CPU – Quad 2.80 GHz Intel Xeon ®E5-2680 v2 Virtual CPU Processors: 12 Memory: 14GB Ram Windows 2016 or 2019 Standard Edition OS Drive: 200GB Separate Drives for Ingest: Minimum 1TV – Depends on how much content is being uploaded. (Depending on network speed, this can sometimes be a NAS volume) Separate drive for eMAM Original & Proxy folders. (This is typically a NAS volume) |
| Active Directory / SSO | Integration Available |
| SSL Support | Yes –Microsoft IIS & Apache Certificates are required IIS Certificate to be installed on the Web Gateway, and Apache is to be installed on the eMAM Application server. (Supplied by Customer or Reseller/SI) |
| eMAM Database Web Gateway Components | eMAM Database (Provided by Empress) eMAM Gateway (Provided by Empress) eMAM Analytics Gateway (Provided by Empress) eMAM Director (Provided by Empress) |
| eMAM Application Components | eMAM Ingest Manager (Provided by Empress) eMAM Task Manager (Provided by Empress) eMAM Delivery Service (Provided by Empress) eMAM Archive (Provided by Empress) |
| Microsoft Office | Office Professional Plus 2016, 2019 (Supplied by Customer or Reseller/SI) |

| Cloud – eMAM Workgroup |  |
| --- | --- |

eMAM Workgroup software package consists of eMAM Database, eMAM Gateway, eMAM Analytics Gateway, eMAM Director, eMAM Ingest Manager, eMAM Task Manager, eMAM Archive and eMAM Delivery Service. In eMAM Workgroup configuration, eMAM software components can be deployed in 2+ servers.

Basic Server hardware requirements for eMAM Workgroup are as follows:

| Type | Requirement |
| --- | --- |
| Operating Systems & Database | Windows: Windows Server Standard 2016 -> Windows Server Standard 2019 Microsoft SQL Server 2016, 2017 & 2019 WEB Edition, Standard Edition for Google Cloud |
| Amazon AWS ** Please note Server offerings from the vendors change frequently. They may / may not be the same as this doc. Refer to the specs to find a server close to the spec. | Database Web/Gateway: Compute optimized m5.xlarge (4 cores/ 16GB memory) with 240GB internal disk (SSD drive preferred for speed) Separate EC2 Drive (SSD preferred) for Database: 50GB Separate EC2 Storage Drive (SSD preferred) for TMP files: 50GB Separate EC2 Storage (SSD preferred) for Log files: 50GB |
|  | Application Server: c5.xlarge (4 cores/ 7.5GM memory) Separate EC2 Storage (SSD preferred) for Ingest files: 1GTB Separate EC2 Storage (SSD preferred) for Original/Proxy holding location files: 1GTB |
|  | S3 Storage: Original Proxy |
| Microsoft Azure ** Please note Server offerings from the vendors change frequently. They may / may not be the same as this doc. Refer to the specs to find a server close to the spec. | Database Web/Gateway: General purpose A4 instance (8 cores/14GB RAM) with 240GB internal disk (SSD Drive preferred for speed) Separate Azure Storage Drive (SSD preferred) for Database: 50GB Separate Azure Storage Drive (SSD preferred) for TMP files: 50GB Separate Azure Storage (SSD preferred) for Log files: 50GB |
|  | Application Server: General purpose A4 instance (8 cores/14GB RAM) with 240GB internal disk (SSD drive preferred for speed) Azure Disk Storage (SSD preferred) for Ingest files: 1GTB Azure Disk Storage (SSD preferred) for Original/Proxy holding location files: 1GTB |
|  | Blob Storage: Original Proxy |
| Google Cloud ** Please note Server offerings from the vendors change frequently. They may / may not be the same as this doc. Refer to the specs to find a server close to the spec. | Database Web/Gateway: n1-standard-4 compute engine (4 cores / 15GB memory) with 240GB internal disk (SSD Drive preferred for speed.) Google Persistent Disk (SSD preferred) for Database: 50GB Google Persistent Disk (SSD preferred) for TMP files: 50GB Google Persistent Disk (SSD preferred) for Log files: 50GB |
|  | Application Server: n1-standard-4 compute engine (4 cores / 15GB memory) with 240GB internal disk (SSD Drive preferred for speed.) Google Persistent Disk (SSD preferred) for Ingest files: 1GTB Google Persistent Disk (SSD preferred) for Original/Proxy holding location files: 1GTB |
|  | Google Cloud Storage: Original Proxy |
| Active Directory / SSO | Integration Available |
| SSL Support | Yes –Microsoft IIS & Apache Certificates are required IIS Certificate to be installed on the Web Gateway, and Apache is to be installed on the eMAM Application server. (Supplied by Customer or Reseller/SI) |
| eMAM Database Web Gateway Components | eMAM Database (Provided by Empress) eMAM Gateway (Provided by Empress) eMAM Analytics Gateway (Provided by Empress) eMAM Director (Provided by Empress) |
| eMAM Application Components | eMAM Ingest Manager (Provided by Empress) eMAM Task Manager (Provided by Empress) eMAM Delivery Service (Provided by Empress) eMAM Archive (Provided by Empress) |
| Microsoft Office | Office Professional Plus 2016, 2019 (Supplied by Customer or Reseller/SI) |
| 5.1 eMAM Workgroup – Cloud server info Minimum configuration in Amazon AWS Windows Server OS with SQL Web edition in m5.xlarge (4 cores/ 16GB memory) instance is suitable to run eMAM web components and database. This can cost approximately $320/month. Compute optimized c5.xlarge (4 cores/ 7.5GM memory) Windows Server instance is good starting point to run eMAM service components with a transcoder. This can cost approximate $280/month. Free transcoder software like FFMPEG or other commercial transcoder can be deployed in this instance for file format conversion. Amazon EC2 instances requires internal disk storage for operating system and eMAM usage. Amazon EBS (elastic block storage - $0.12/GB) volumes can be mounted inside the servers. Multiple EBS volumes can be added to the database server to store the OS, SQL database and SQL log files in separate drives. Large EBS volume may be required inside the app server to handle the ingest process by holding the original files and the transcoded proxy files until it gets uploaded to S3 buckets. Max size of EBS volume can be up to – 16TB Minimum configuration in Microsoft Azure General purpose A4 instance (8 cores/14GB RAM) with 240GB internal disk costs approximately $450/month. This can be a good starting point for eMAM Web server and App server. One of the servers, SQL Web database can be added for additional $48/month. Max size of storage volume: 4 TB Minimum configuration in Google Compute Engine GCE is not offering any compute engines with SQL Server but you can bring your own SQL license to GCE. As of now, we are using GCE for POCs with free SQL Express Advanced edition database. n1-standard-4 compute engine (4 cores / 15GB memory in GCP costs around $150/month without any OS. Windows Server require additional $0.04 USD per core/hour. That makes additional $115/month for OS in n1-standard-4 instance. Max size of storage volume: 64TB ** Note ** Keep all the eMAM servers in the same Region and AZ (Availability Zone – Datacenter) and use local IP address to communicate between the eMAM Web, App & Database servers as well as the S3 or Blob storages. This will reduce any communication lags between servers. 5.2 eMAM Workgroup – Important Cloud Services Compute Engine These are virtual servers in cloud. Servers with different OS, memory, CPU, storage and network configuration can be deployed easily using a web-based management interface. eMAM System require servers with Microsoft Windows Server operating system and SQL Server database. Compute services from major cloud vendors are: Microsoft Azure Virtual Machines Google Compute Engine Amazon Elastic Compute Cloud (Amazon EC2) Storage There are mainly three types of storages in the cloud supported by eMAM. File based storage that can be mounted as local NTFS drives in the Windows Server. Multiple storage volumes may require for OS, Database, Log files, and other file-based operations like ingest, transcoding and proxy streaming. There are restrictions on the maximum size of storage volume, like 4TB to 64TB, depending on the cloud vendor. Azure Disk Storage Google Persistent Disk Amazon EBS Object based storage where the files are stored inside a bucket with metadata and globally unique identifier. eMAM supports S3 based object storage and Microsoft Azure BLOB. Azure BLOB Storage Google Cloud Storage* Amazon Simple Storage Service(S3) Network File Storage that can be accessed as CIFS/SMB shares from multiple servers using a UNC path. Azure FILES Storage CDN Content Delivery Network (CDN) is very important in geographically distributed eMAM workflows. Globally distributed edge locations and high-performance network infrastructure helps the end users to stream and download the media from eMAM without any latency. eMAM supports most of the CDNs including Amazon CloudFront, Azure CDN, Akamai and Limelight. Azure CDN Google Cloud CDN Amazon CloudFront 5.3 eMAM Workgroup – Other Cloud Services Load Balancer Load balancer helps to distribute the incoming eMAM web traffic to multiple servers. This will also enable fault tolerance by doing the auto failover to the available nodes if one or more nodes (servers) fails. Amazon Elastic Load Balancer, Azure Load Balancer and Google Cloud Load Balancing can be used to set up the load balanced environment with respective cloud vendors. Azure Load Balancer Google Cloud Load Balancing Amazon Elastic Load Balancing Email Server SMTP (Simple Mail Transfer Protocol) Server is important in the eMAM configurations to send out the workflow and other system notifications to the end users. SMTP services in cloud allows the users to configure the email services in eMAM without going through the hassles of installing, configuring and maintaining a dedicated SMTP server. Amazon Simple Email Service (SES) Transcoding eMAM currently supports server-based transcoding where the transcoders like FFMPEG, Carbon or Vantage deployed in a windows server is integrated with eMAM Ingest Manager and eMAM Delivery Service. eMAM allows the users to upload the content directly to Amazon S3 from their workstations using eFeeder, web uploader, DeskLink etc. and manage the transcode queue in cloud using Elastic Transcoder. Azure media Services are available from Microsoft in case customer wanted to setup scalable transcoding environment without provisioning additional servers in Azure. Depends on the customer requirements, eMAM professional services team engagement may require configuring this. Azure Media Services Amazon Elastic Transcoder 5.4 eMAM Workgroup – Cloud Network Diagram * Empress Media Asset Management is a software company concentrating on building industry leading MAM software. Through our partner eco system, we provide complete turkey solution including hardware and third-party software. Firewall Ports |  |

| Redundancy |  |
| --- | --- |

Customers can choose to install a Redundant eMAM Server to be used as Failover or DR in case of a failure of Primary eMAM Server.

To enable redundant eMAM Servers in Vault, Publish & Workgroup installations, each eMAM server replica is created with the same set of eMAM components, other applications, computing power, storage, and other operational parameters.

* Another level of redundancy can be achieved with redundant power supplies, CPU, RAM, RAID storage, etc. in the same server.

* Data redundancy can be built into the storage system managed by eMAM.  eMAM can also support multiple separate storage systems with different copies of the content.

## 7.1 Redundant eMAM Server for Failover and Disaster Recovery (DR)

Redundant Systems can be configured in different ways, depending on customer’s requirement and workflow. Below are a couple of illustrations for DR & Failover Setups

Typically the DR setup may be located on a different site to ensure geographical diversity and recovery in case of Natural Calamities or Fire etc..

In some other cases, customers may choose to build failover on same site, with or without replicating Transcoders & Storage.

eMAM Database holds all necessary information to restore the entire system. Thus, in all cases it is suggested to schedule database replication to Redundant eMAM server. All Asset Information will be restored to the last replicated dB state in the event of failure.

All media will be automatically linked to the Redundant Server or made available from Redundant Storage (if available) in case of Failover.

## 7.2 Some basic requirement & guidelines for failover system -

- In addition to Primary eMAM Server, the Redundant eMAM server(s) may be installed in the same premises to be used as Failover or in a different location to be used as a DR system. The redundant eMAM server however may be installed with minimal server specifications (mentioned in the document below).

- Each Site may have its own set of transcoders and redundant storage to ensure trouble free switching and business process continuity. Customers may choose from a variety of redundant / DR storage options like – LTO, Object Storage, NAS, ODA etc..

- Data can be replicated to selected Redundant Storage by setting up profiles and rules in eMAM Configuration. However, customers must ensure enough bandwidth and connectivity between two systems to ensure media replication.

2.     It is recommended to use domain names instead of IP for eMAM URL, Original, Proxy, Delivery, and archive configurations (Domain forwarding is much quicker than editing URLs in multiple configuration settings). If Domain Names are not setup, customer IT team will have to reconfigure URL’s or IP addresses for clients to point to Redundant eMAM Server.

3.     Customer should work with the archive middleware companies to make the DR plans for the archive.

4.     Server, Network, Storage and Archive may setup in both locations or in Cloud with accessibility from both locations.

## 7.3 eMAM Redundant Server License

For customers running eMAM Vault, Publish & Workgroup a back-up set of licenses is available at special price, please contact your Sales Representative for details. emamsales@empressmam.com , +1.888.808.3856

Please note –

Mirroring of the database / servers and assets from primary location to DR location is outside of the eMAM configurations, dependent on third party tools. Archive Middleware can make duplicate copy of tapes and send those to a DR location. Replication can be configured in SQL server to mirror the database.

A major part of the DR configuration is from the networking side:  pointing the domain names to appropriate servers/IP addresses.   In some cases, the eMAM professional services team has to run a script to change the asset status to support the restore operations of the assets from archive to the newly provisioned storage.

## 7.4 Options for 3rd Party Failover

- Microsoft Failover Clustering / Database Failover Clustering

  - Server Failover: https://docs.microsoft.com/en-us/windows-server/failover-clustering/failover-clustering-overview

  - MSSQL Failover: https://docs.microsoft.com/en-us/sql/sql-server/failover-clusters/install/create-a-new-sql-server-failover-cluster-setup?view=sql-server-2017

- NEC Express Cluster

  - Software version:  https://www.nec.com/en/global/prod/expresscluster/index.html

  - Hardware version: https://www.nec.com/en/global/prod/express/fault_tolerant/r320f/index.html

- Cold – Manually cloning the Primary Server to the Failover server

  - Make a backup copy of the database and store in a separate location (Raid)

  - Make frequent clones of the Server’s Drive. Place Clone into backup hardware and make changes to config and license files when backup server is needed in event of hardware issues on primary server.